## Introduction
PowerFlex 525 Drive to Armor PowerFlex AC Drive Parameter Migration Guide Reference Data
About This Publication | This publication lists the parameters for the PowerFlex 525 drive and shows how they can be mapped to the Armor PowerFlex AC drive.
For more information see:
| Armor PowerFlex AC Drives User Manual | 35-UM001
| PowerFlex 520-Series Adjustable Frequency AC Drive User Manual | 520-UM001
Important: Rockwell Automation is not responsible for any content or format changes made by other parties after downloading this spreadsheet file. The original file can be re-downloaded at any time.
TIP: When you search for information in a spreadsheet, set the search options to search the workbook, rather than the current sheet (tab).
Your comments help us serve your documentation needs better. If you have any suggestions on how to improve our content, complete the form at: |  |  | rok.auto/docfeedback
Allen-Bradley, CompactLogix, GuardLogix, Logix 5000, Rockwell Automation, Studio 5000, and TotalFORCE are trademarks of Rockwell Automation, Inc. EtherNet/IP is a trademark of ODVA, Inc. Trademarks not belonging to Rockwell Automation are property of their respective companies.
35-RD003A-EN-P - January 2024
Copyright © 2024 Rockwell Automation Inc. All Rights Reserved. Printed in USA.

## Parameters
Parameter Mapping
PowerFlex 525 Drive to Armor PowerFlex Drive
For more information see: |  |  | For more information see:
PowerFlex 520-Series Adjustable Frequency AC Drive User Manual, 520-UM001 |  |  | Armor PowerFlex AC Drives User Manual, 35-UM001
Armor PowerFlex CIP Object Definitions Reference Data, 35-RD001
PowerFlex 525 Drive |  |  | Armor PowerFlex Drive
Parameter Number | Parameter Name | Parameter Group | In Armor PowerFlex | Object Class # | Object Name | Instance Number | Attribute Number | Attribute Name | Notes | User Interface Page (AOP)
b001 | Output Freq | Basic Display | Yes | 0x0425 | Inverter | 1 | 1 | Output Frequency | 1 = Inverter | NameOfYourDrive:I.OutputFrequency
b002 | Commanded Freq | Basic Display | Yes | 0x041E | Velocity Control Supervisor | 1 | 101 | Velocity Commanded | 1 = Supervisor | NameOfYourDrive:O.CommandedVelocity
b003 | Output Current | Basic Display | Yes | 0x0425 | Inverter | 1 | 3 | Output Current Total | 1 = Inverter | NameOfYourDrive:I.OutputCurrent
b004 | Output Voltage | Basic Display | Yes | 0x0425 | Inverter | 1 | 2 | Output Voltage | 1 = Inverter | NameOfYourDrive:I.OutputVoltage
b005 | DC Bus Voltage | Basic Display | Yes | 0x0424 | DC Bus | 1 | 2 | Measured Voltage | 1 = DC Bus | NameOfYourDrive:I.DCBusVoltage
b006 | Drive Status | Basic Display | Yes | - | - | - | - | - | See Bits | NameOfYourDrive:I.DriveStatus
| Drive Status. Running(D1) | Basic Display | Yes | 0x041B | Motor Control Supervisor | 1 | 109 | Running | 1 = Supervisor | NameOfYourDrive:I.Running
| Drive Status. Forward(D2) | Basic Display | Yes | 0x041B | Motor Control Supervisor | 1 | 110 | Direction Running | 1 = Supervisor | NameOfYourDrive:I.CommandedDirection (1 = forward)
| Drive Status. Accelerating(D3) | Basic Display | Yes | 0x0420 | Acceleration Control Supervisor | 1 | 104 | Accelerating | 1 = Supervisor | NameOfYourDrive:I.Accelerating
| Drive Status. Decelerating(D4) | Basic Display | Yes | 0x0420 | Acceleration Control Supervisor | 1 | 105 | Decelerating | 1 = Supervisor | NameOfYourDrive:I.Decelerating
| Drive Status. Safety Active(D5) | Basic Display | Yes | 0x003D | Drive Safety Manager | 1 | 1 | Torque Enabled | - | NameOfYourDrive:I.SafetyFault
b007 | Fault 1 Code | Basic Display | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Faults and Alarms
b008 | Fault 2 Code | Basic Display | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Faults and Alarms
b009 | Fault 3 Code | Basic Display | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Faults and Alarms
b010 | Process Display | Basic Display | No | - | - | - | - | - | Armor PowerFlex does not have an integrated display | N/A
b011 | Process Fraction | Basic Display | No | - | - | - | - | - | Armor PowerFlex does not have an integrated display | N/A
b012 | Control Source | Basic Display | Yes | - | - | - | - | - | See Bits
| Control Source.Start | Basic Display | Yes | 0x041B | Motor Control Supervisor | 1 | 1 | Active Source | 1 = Supervisor | Not read in AOP
| Control Source.Reference | Basic Display | Yes | 0x041E | Velocity Control Supervisor | 1 | 1 | Active Source | 1 = Supervisor | Not read in AOP
b013 | Contrl In Status.DigIn TBlk(0) | Basic Display | Yes | 0x0008 | Discrete Input Point | 1 | 3 | Value | IN0 (Different Product so alignment isn't exact ) | NameOfYourDrive:I.In_0
b013 | Contrl In Status.DigIn TBlk(1) | Basic Display | Yes | 0x0008 | Discrete Input Point | 2 | 3 | Value | IN1 (Different Product so alignment isn't exact ) | NameOfYourDrive:I.In_1
b013 | Contrl In Status.DigIn TBlk(2) | Basic Display | Yes | 0x0008 | Discrete Input Point | 3 | 3 | Value | IN2 (Different Product so alignment isn't exact ) | NameOfYourDrive:I.In_2
b014 | Dig In Status | Basic Display | No | 0x0008 | Discrete Input Point | 4 | 3 | Value | See User Manual for all supported Discrete Input Instances 1 = IN0 2 = IN1 3 = IN2 4 = IN3 5 = IN/OUT0 6 = IN/OUT1 | NameOfYourDrive:I.In_3
b015 | Output RPM | Basic Display | No | - | - | - | - | - | Engineering Units Group Not Supported in CR1 | NameOfYourDrive:I.Velocity (units are rev/sec)
b016 | Output Speed | Basic Display | No | - | - | - | - | - | Engineering Units Group Not Supported in CR1 | NameOfYourDrive:I.Velocity (units are rev/sec)
b017 | Output Power | Basic Display | Yes | 0x0425 | Inverter | 1 | 4 | Output Power | 1 = Inverter | NameOfYourDrive:I.OutputPower
b018 | Power Saved | Basic Display | No | - | - | - | - | - | - | N/A
b019 | Elapsed Run Time | Basic Display | No | - | - | - | - | - | Identity Object Provide Uptime Attribute | N/A
b020 | Average Power | Basic Display | No | - | - | - | - | - | Not Supported in Armor PowerFlex | N/A
b021 | Elapsed kWh | Basic Display | Yes | 0x04E | Base Energy | 1 | 7 | Consumed Energy Odometer | CIP Energy implemented in CR1.5 | N/A
b022 | Elapsed MWh | Basic Display | Yes | 0x04E | Base Energy | 1 | 7 | Consumed Energy Odometer | CIP Energy implemented in CR1.5 | N/A
b023 | Energy Saved | Basic Display | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
b024 | Accum kWh Sav | Basic Display | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
b025 | Accum Cost Sav | Basic Display | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
b026 | Accum CO2 Sav | Basic Display | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
b027 | Drive Temp | Basic Display | Yes | 0x0423 | Temperature Sensor | 3 | 1 | Current Temperature | System Board (Assumption - Different Products) | NameOfYourDrive:I.DriveHeatsinkTemperature
b028 | Control Temp | Basic Display | Yes | 0x0423 | Temperature Sensor | 1 | 1 | Current Temperature | Power Board (Assumption - Different Products)
b029 | Control SW Ver | Basic Display | Yes | 0x0001 | Identity | 1 | 4 | Revision | 1 = Product | Overview Definition
P030 | Language | Basic Program | No | - | - | - | - | - | N/A | N/A (no place to set language in AOP)
P031 | Motor NP Volts | Basic Program | Yes | 0x041D | Motor Configuration | 1 | 3 | Voltage | 1 = Motor | Motor Control : Motor Nameplate
P032 | Motor NP Hertz | Basic Program | Yes | 0x041D | Motor Configuration | 1 | 9 | Rated Frequency | 1 = Motor | Motor Control : Motor Nameplate
P033 | Motor OL Current | Basic Program | Yes | 0x0432 | Motor Thermal Overload | 1 | 101 | Overload Current | 1 = Motor 1 Overload | Motor Control : Overload Protection
P034 | Motor NP FLA | Basic Program | Yes | 0x041D | Motor Configuration | 1 | 4 | Rated Current/FLA | 1 = Motor | Motor Control : Motor Nameplate
P035 | Motor NP Poles | Basic Program | Yes | 0x041D | Motor Configuration | 1 | 7 | Poles | 1 = Motor | Motor Control : Motor Nameplate
P036 | Motor NP RPM | Basic Program | Yes | 0x041D | Motor Configuration | 1 | 8 | Rated Speed | 1 = Motor | Motor Control : Motor Nameplate
P037 | Motor NP Power | Basic Program | Yes | 0x041D | Motor Configuration | 1 | 6 | Rated Power | 1 = Motor | Motor Control : Motor Nameplate
P038 | Voltage Class | Basic Program | No | - | - |  |  |  | Only voltage class supported | N/A
P039 | Torque Perf Mode | Basic Program | Yes | 0x042C | Motor Contrrol Configuration | 1 | 2 | Control Method | 1 = Motor Control Configuration | Motor Control : Motor Control
P040 | Autotune | Basic Program | Yes | 0x041D | Motor Configuration | 1 | 202 | Autotune Status | 1 = Motor (Use Service 0x4B to initiate autotune ) | Motor Control : Autotune
P041 | Accel Time 1 | Basic Program | Yes | 0x0421 | Acceleration Preset | 1 | 1 | Acceleration Time | See User Manual for all supported Acceleration Preset options | Velocity Control : Presets
P042 | Decel Time 1 | Basic Program | Yes | 0x0421 | Deceleration Preset | 1 | 2 | Deceleration Time | See User Manual for all supported Deceleration Preset options | Velocity Control : Presets
P043 | Minimum Freq | Basic Program | Yes | 0x041E | Velocity Control Supervisor | 1 | 201 | Maximum Forward Velocity | 1 = Supervisor | Velocity Control : Output Frequency
P044 | Maximum Freq | Basic Program | Yes | 0x041E | Velocity Control Supervisor | 1 | 203 | Minimum Forward Velocity | 1 = Supervisor | Velocity Control : Output Frequency
P045 | Stop Mode | Basic Program | Yes | 0x042A | Stop Control Source | 1 | 100 | Stop Mode | Instances: 1 = Default 3 = Safety STO 4 = SafetySS1 | Stop Control : Stop Mode
P046 | Start Source 1 | Basic Program | Yes | 0x041C | Motor Control Supervisor | 2 | 100 | Start | Instances: 1 = Keypad 2 = Assembly 3 = Assembly Class 3 4 = Safety Safe Stop | Motor Control (Must be set in the AOP or the value could be overwritten when a new connection is established or when power is cycled.)
P047 | Speed Reference1 | Basic Program | Yes | 0x041F | Velocity Control Source | 6 | 1 | Enable | Instances: 1 = Preset 1 2 = Preset 2 3 = Preset 3 4 = Preset 4 5 = Jog 6 = Assembly 7 = Assembly Class 3 | Motor Control (Must be set in the AOP or the value could be overwritten when a new connection is established or when power is cycled.) or NameOfYourDrive.O.VelocityRefSelect_x (See Armor PowerFlex User Manual and Armor PowerFlex CIP Object Definitions, for details.)
P048 | Start Source 2 | Basic Program | No | - | - | - | - | - | This is a Network only controlled drive | overview Definition
P049 | Speed Reference2 | Basic Program | No | - | - | - | - | - | This is a Network only controlled drive | N/A
P050 | Start Source 3 | Basic Program | No | - | - | - | - | - | - | N/A
P051 | Speed Reference3 | Basic Program | No | - | - | - | - | - | - | N/A
P052 | Average kWh Cost | Basic Program | No | - | - | - | - | - | Variable - function accuracy ? | N/A
P053 | Reset To Defaults | Basic Program | Yes | 0x0001 | Identity | 1 | N/A | N/A | Reset Service 0x05 (Type 1) | Reset to defaults via re-creating the drive in the project
t062 | DigIn TermBlk 02 | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t063 | DigIn TermBlk 03 | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t064 | 2-Wire Mode | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | N/A
t065 | DigIn TermBlk 05 | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t066 | DigIn TermBlk 06 | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t067 | DigIn TermBlk 07 | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t068 | DigIn TermBlk 08 | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t069 | Opto Out1 Sel | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital output programming is done vie PLC code
t070 | Opto Out1 Level | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t072 | Opto Out2 Sel | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t073 | Opto Out2 Level | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t075 | Opto Out Logic | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t076 | Relay Out1 Sel | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t077 | Relay Out1 Level | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t079 | Relay 1 On Time | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t080 | Relay 1 Off Time | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t081 | Relay Out2 Sel | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t082 | Relay Out2 Level | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t084 | Relay 2 On Time | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t085 | Relay 2 Off Time | Terminal Blocks | No | - | - | - | - | - | See Inputs and Output for Armor PowerFlex | Digital input programming is done vie PLC code
t086 | EM Brk Off Delay | Terminal Blocks | Yes | 0x0427 | Physical Brake Control Supervisor | 1 | 106 | Engage Time | 1 = EM Brake | Stop Control : EM Brake
t087 | EM Brk On Delay | Terminal Blocks | Yes | 0x0427 | Physical Brake Control Supervisor | 1 | 105 | Release Time | 1 = EM Brake | Stop Control : EM Brake
t088 | Analog Out Sel | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t089 | Analog Out High | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t090 | Anlg Out Setpt | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t091 | Anlg In 0-10V Lo | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t092 | Anlg In 0-10V Hi | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t093 | 10V Bipolar Enbl | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t094 | Anlg In V Loss | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t095 | Anlg In4-20mA Lo | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t096 | Anlg In4-20mA Hi | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t097 | Anlg In mA Loss | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t098 | Anlg Loss Delay | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t099 | Analog In Filter | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
t100 | Sleep-Wake Sel | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not support Sleep Wake | N/A
t101 | Sleep Level | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not support Sleep Wake | N/A
t102 | Sleep Time | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not support Sleep Wake | N/A
t103 | Wake Level | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not support Sleep Wake | N/A
t104 | Wake Time | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex does not support Sleep Wake | N/A
t105 | Safety Open En | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex design with normal Safety Interfaces | Armor PowerFlex design with normal Safety Interfaces
t106 | SafetyFlt RstCfg | Terminal Blocks | No | - | - | - | - | - | Armor PowerFlex design with normal Safety Interfaces | Armor PowerFlex design with normal Safety Interfaces
C121 | Comm Write Mode | Communications | No | - | - | - | - | - | Armor PowerFlex does not support a DSI Serial Port | N/A
C122 | Cmd Stat Select | Communications | No | - | - | - | - | - | Armor PowerFlex does not support a DSI Serial Port | N/A
C123 | RS485 Data Rate | Communications | No | - | - | - | - | - | Armor PowerFlex does not support a DSI Serial Port | N/A
C124 | RS485 Node Addr | Communications | No | - | - | - | - | - | Armor PowerFlex does not support a DSI Serial Port | N/A
C125 | Comm Loss Action | Communications | No | - | - | - | - | - | Armor PowerFlex does not support a DSI Serial Port | N/A
C126 | Comm Loss Time | Communications | No | - | - | - | - | - | Armor PowerFlex does not support a DSI Serial Port | N/A
C127 | RS485 Format | Communications | No | - | - | - | - | - | Armor PowerFlex does not support a DSI Serial Port | N/A
C128 | EN Addr Sel | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 3 | Configuration Control | 1 = TCP IP Interface | Overview--Device Definition : Ethernet Address
C129 | EN IP Addr Cfg 1 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | Overview--Device Definition : Ethernet Address
C130 | EN IP Addr Cfg 2 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | Overview--Device Definition : Ethernet Address
C131 | EN IP Addr Cfg 3 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | Overview--Device Definition : Ethernet Address
C132 | EN IP Addr Cfg 4 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | Overview--Device Definition : Ethernet Address
C133 | EN Subnet Cfg 1 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | cannot be set from AOP
C134 | EN Subnet Cfg 2 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | cannot be set from AOP
C135 | EN Subnet Cfg 3 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | cannot be set from AOP
C136 | EN Subnet Cfg 4 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | cannot be set from AOP
C137 | EN Gateway Cfg 1 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | cannot be set from AOP
C138 | EN Gateway Cfg 2 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | cannot be set from AOP
C139 | EN Gateway Cfg 3 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | cannot be set from AOP
C140 | EN Gateway Cfg 4 | Communications | Yes | 0x00F5 | TCP IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface (Delivered through a Set Service Structure) | cannot be set from AOP
C141 | EN Rate Cfg | Communications | Yes | 0x00F6 | Ethernet Link | 1,2 | 6 | Interface Control | Auto Detect, Speed and Duplex setting: 1 = Ethernet Port 1 2 = Ethernet Port 2 | cannot be set from AOP
C143 | EN Comm Flt Actn | Communications | Yes | 0x041C | Motor Control Source | 2 | 2 | Inhibit | Action Data Faulted Attrb 10 for Assembly output instance 2 | cannot be set from AOP
C144 | EN Idle Flt Actn | Communications | Yes | 0x041C | Motor Control Source | 2 | 2 | Inhibit | Action Data invalid Attr 9 for Assembly output instance 2 | cannot be set from AOP
C145 | EN Flt Cfg Logic | Communications | No | - | - | - | - | - | Not Supported in Armor PowerFlex | N/A
C146 | EN Flt Cfg Ref | Communications | No | - | - | - | - | - | Not Supported in Armor PowerFlex | N/A
C147 | EN Flt Cfg DL 1 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C148 | EN Flt Cfg DL 2 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C149 | EN Flt Cfg DL 3 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C150 | EN Flt Cfg DL 4 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C153 | EN Data In 1 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C154 | EN Data In 2 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C155 | EN Data In 3 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C156 | EN Data In 4 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C157 | EN Data Out 1 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C158 | EN Data Out 2 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C159 | EN Data Out 3 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C160 | EN Data Out 4 | Communications | Yes | - | - | - | - | - | Firmware revision 2.001 or higher is required | Overview : Device Definition
C161 | Opt Data In 1 | Communications | No | - | - | - | - | - | Armor PowerFlex does not support Option Card | N/A
C162 | Opt Data In 2 | Communications | No | - | - | - | - | - | Armor PowerFlex does not support Option Card | N/A
C163 | Opt Data In 3 | Communications | No | - | - | - | - | - | Armor PowerFlex does not support Option Card | N/A
C164 | Opt Data In 4 | Communications | No | - | - | - | - | - | Armor PowerFlex does not support Option Card | N/A
C165 | Opt Data Out 1 | Communications | No | - | - | - | - | - | Armor PowerFlex does not support Option Card | N/A
C166 | Opt Data Out 2 | Communications | No | - | - | - | - | - | Armor PowerFlex does not support Option Card | N/A
C167 | Opt Data Out 3 | Communications | No | - | - | - | - | - | Armor PowerFlex does not support Option Card | N/A
C168 | Opt Data Out 4 | Communications | No | - | - | - | - | - | Armor PowerFlex does not support Option Card | N/A
C169 | MultiDrv Sel | Communications | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
C171 | Drv 1 Addr | Communications | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
C172 | Drv 2 Addr | Communications | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
C173 | Drv 3 Addr | Communications | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
C174 | Drv 4 Addr | Communications | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
C175 | DSI I/O Cfg | Communications | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
L180 | Stp Logic 0 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L181 | Stp Logic 1 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L182 | Stp Logic 2 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L183 | Stp Logic 3 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L184 | Stp Logic 4 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L185 | Stp Logic 5 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L186 | Stp Logic 6 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L187 | Stp Logic 7 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L190 | Stp Logic Time 0 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L191 | Stp Logic Time 1 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L192 | Stp Logic Time 2 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L193 | Stp Logic Time 3 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L194 | Stp Logic Time 4 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L195 | Stp Logic Time 5 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L196 | Stp Logic Time 6 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L197 | Stp Logic Time 7 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L200 | Step Units 0 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L202 | Step Units 1 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L204 | Step Units 2 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L206 | Step Units 3 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L208 | Step Units 4 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L210 | Step Units 5 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L212 | Step Units 6 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
L214 | Step Units 7 | Logic | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
d360 | Analog In 0-10V | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
d361 | Analog In 4-20mA | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not have Analog Outputs or Inputs | N/A
d362 | Elapsed Time-hr | Advanced Display | Yes | 0x0001 | Identity | 1 | 20 | Uptime | Parameter is consolidated into 1 attribute for support | Not available in AOP
d363 | Elapsed Time-min | Advanced Display | Yes | 0x0001 | Identity | 1 | 20 | Uptime | Parameter is consolidated into 1 attribute for support | Not available in AOP
d364 | Counter Status | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not have counters | N/A
d365 | Timer Status | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not have counters | N/A
d367 | Drive Type | Advanced Display | No | - | - | - | - | - | N/A | N/A
d368 | Testpoint Data | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not support Testpoints | N/A
d369 | Motor OL Level | Advanced Display | Yes | 0x0432 | Motor Thermal Overload | 1 | 1 | Thermal Capacity Utilized | 1 = Motor 1 Overload | NameOfYourDrive:I.MotorOverloadLevel
d375 | Slip Hz Meter | Advanced Display | Yes | 0x0435 | Slip Droop Compensation | 1 | 3 | Output | 1 = Slip Droop Compensation | Not available in AOP
d376 | Speed Feedback | Advanced Display | Yes | 0x041E | Velocity Control Supervisor | 1 | 104 | Current Velocity | 1 = Supervisor | NameOfYourDrive:I.Velocity (units are rev/sec)
d378 | Encoder Speed | Advanced Display | Yes | 0x042F | Feedback | 1 | 3 | Velocity | 1 = Feedback | N/A
d380 | DC Bus Ripple | Advanced Display | Yes | 0x0424 | DC Bus | 1 | 3 | Ripple Voltage | 1 = DC Bus | Not available in AOP
d381 | Output Powr Fctr | Advanced Display | Yes | 0x0425 | Inverter | 1 | 7 | Output Power Factor | 1 = Inverter | Not available in AOP
d382 | Torque Current | Advanced Display | Yes | 0x0425 | Inverter | 1 | 6 | Torque Current | 1 = Inverter | Not available in AOP
d383 | PID1 Fdbk Displ | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
d384 | PID1 Setpnt Disp | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
d385 | PID2 Fdbk Displ | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
d386 | PID2 Setpnt Disp | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
d387 | Position Status | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not support positioning | N/A
d388 | Units Traveled H | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not support positioning | N/A
d389 | Units Traveled L | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not support positioning | N/A
d390 | Fiber Status | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not support Fiber applications | N/A
d391 | Stp Logic Status | Advanced Display | No | - | - | - | - | - | Armor PowerFlex does not support Step Logic | N/A
d392 | RdyBit Mode Act | Advanced Display | No | - | - | - | - | - | There is only one way to support Ready Bit - N/A | Not available in AOP
d393 | Drive Status 2 | Advanced Display | Yes | - | - | - | - | - | See Bits Below: | Not available in AOP
| Bit0 - Jogging | Advanced Display | Yes | 0x041B | Motor Control Supervisor | 1 | 101 | Jog Commanded | 1 = Supervisor | Not available in AOP
| Bit1 = Flux Braking | Advanced Display | Yes | 0x0429 | Stop Control Supervisor | 1 | 108 | Flux Braking | 1 = Supervisor | Not available in AOP
| Bit2 - Motor Overload | Advanced Display | Yes | 0x0432 | Motor Thermal Overload | 1 | 3 | In Thermal Overload | 1 = Motor 1 Overload | Not available in AOP
| Bit3 - AutoRst Ctdn | Advanced Display | Yes | 0x0430 | Fault Auto Clear Run | 1 | 106 | Auto Reset Run Delaying | 1 = Auto Restart | Not available in AOP
| Bit4 - DC Braking | Advanced Display | Yes | 0x0429 | Stop Control Supervisor | 1 | 106 | DC Braking | 1 = Supervisor | Not available in AOP
| Bit5 - At Frequency | Advanced Display | Yes | 0x041E | Velocity Control Supervisor | 1 | 105 | At Commanded Velocity | 1 = Supervisor | Not available in AOP
| Bit6 - Auto Tuning | Advanced Display | Yes | 0x041D | Motor Configuration | 1 | 201 | Autotune Active | 1 = Motor | Not available in AOP
| Bit7 - EM Braking | Advanced Display | Yes | 0x0427 | Physical Brake Contrtoller | 1 | 101 | State Actual | 1 = EM Brake | Not available in AOP
| Bit8 - Current Limit | Advanced Display | Yes | 0x0436 | Inverter Protection | 1 | 203 | Current Limiting Occurring | 1 = Inverter Protection 1 | Not available in AOP
| Bit 9 - NA | Advanced Display | No | - | - | - | - | - | Bit Not Used | N/A
| Bit10 - Safety S1 | Advanced Display | Yes | 0x003D | Safety Discrete Input Point | 1 | 7 | Safety Input Logical Value | Instances: 1 = Safety Input 0 2 = Safety Input 1 3 = Safety Input 2 4 = Safety Input 3 | NameOfYourDrive:SI.In00Data NameOfYourDrive:SI.In00Status
| Bit11 = Safety S2 | Advanced Display | Yes | 0x003D | Safety Discrete Input Point | 2 | 7 | Safety Input Logical Value | Instances: 1 = Safety Input 0 2 = Safety Input 1 3 = Safety Input 2 4 = Safety Input 3 | NameOfYourDrive:SI.In01Data, NameOfYourDrive:SI.In02Data, NameOfYourDrive:SI.In03Data
| Bit12 - F111 status | Advanced Display | Yes | 0x043A | Drive Safety Manager | 1 | 2 | Safety Fault | - | NameOfYourDrive:I.SafetyFault
| BIt13 - SafeTqPermit | Advanced Display | Yes | 0x043A | Drive Safety Manager | 1 | 1 | Torque Enabled | - | NameOfYourDrive:I.SafeTorqueEnabled
| Bit14 - NA | Advanced Display | No | - | - | - | - | - | Bit Not Used | N/A
| BIt15 - NA | Advanced Display | No | - | - | - | - | - | Bit Not Used | N/A
d394 | Dig Out Status | Advanced Display | Yes | 0x043F | Discrete Output Control Source | 1 | 4 | Operational State | Instances: 1 = Out 0: I/O Assembly 2 = Out 0: Class 3 Assembly 3 = Out 0: AC Power 4 = Out 0: Fault 5 = Out 1: I/O Assembly 6 = Out 1: Class 3 Assembly 7 = Out 1: AC Power 8 = Out 1: Fault | NameOfYourDrive:I.IO_0 & NameOfYourDrive:I.IO_1
A410 | Preset Freq 0 | Advanced Program | Yes | 0x043D | Velocity Preset | 1 | 1 | Velocity | 1 = Velocity Preset 1 | Velocity Control : Presets
A411 | Preset Freq 1 | Advanced Program | Yes | 0x043D | Velocity Preset | 2 | 1 | Velocity | 2 = Velocity Preset 2 | Velocity Control : Presets
A412 | Preset Freq 2 | Advanced Program | Yes | 0x043D | Velocity Preset | 3 | 1 | Velocity | 3 = Velocity Preset 3 | Velocity Control : Presets
A413 | Preset Freq 3 | Advanced Program | Yes | 0x043D | Velocity Preset | 4 | 1 | Velocity | 4 = Velocity Preset 4 | Velocity Control : Presets
A414 | Preset Freq 4 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A415 | Preset Freq 5 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A416 | Preset Freq 6 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A417 | Preset Freq 7 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A418 | Preset Freq 8 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A419 | Preset Freq 9 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A420 | Preset Freq 10 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A421 | Preset Freq 11 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A422 | Preset Freq 12 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A423 | Preset Freq 13 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A424 | Preset Freq 14 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A425 | Preset Freq 15 | Advanced Program | No | - | - | - | - | - | Armor PowerFlex supports only 4 Frequency Presets | Armor PowerFlex Supports only 4 Frequency Presets
A426 | Keypad Freq | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support Keypad Freqency | N/A
A427 | MOP Freq | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support MOP function | N/A
A428 | MOP Reset Sel | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support MOP function | N/A
A429 | MOP Preload | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support MOP function | N/A
A430 | MOP Time | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support MOP function | N/A
A431 | Jog Frequency | Advanced Program | Yes | 0x0446 | Jog Preset | 1 | 1 | Velocity | 1 = Jog Preset | Not available in AOP
A432 | Jog Accel/Decel | Advanced Program | Yes | 0x0446 | Jog Preset | 1 | 2,3 | Acceleration Time/Deceleration Time | 1 = Jog Preset | Not available in AOP
A433 | Purge Frequency | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support Purge Frequency | N/A
A434 | DC Brake Time | Advanced Program | Yes | 0x042A | Stop Control Source | 1 | 102 | DC Brake Time | 1 = Supervisor | Stop Control : DC Brake
A435 | DC Brake Level | Advanced Program | Yes | 0x042A | Stop Control Source | 1 | 101 | DC Brake Level | 1 = Supervisor | Stop Control : DC Brake
A436 | DC Brk Time@Strt | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | Armor PowerFlex does not support
A437 | DB Resistor Sel | Advanced Program | Yes | 0x042B | Dynamic Brake | 1 | 102 | Resistor Type | 1 = Dynamic Brake | Stop Control : Dynamic Brake
A438 | DB Threshold | Advanced Program | Yes | 0x042B | Dynamic Brake | 1 | 101 | Threshold | 1 = Dynamic Brake | Stop Control : Dynamic Brake
A439 | S Curve % | Advanced Program | Yes | 0x0421 | Acceleration Control Source | 1 | 102 | Acceleration Scurve | - | Velocity Control: Presets
A440 | PWM Frequency | Advanced Program | Yes | 0x0425 | Inverter | 1 | 50 | Max PWM Carrier Frequency | 1 = Inverter | Motor Control : Advanced Motor Control
A441 | Droop Hertz@ FLA | Advanced Program | Yes | 0x0435 | Slip Droop Compensation | 1 | 5 | Full Load Slip Droop User | 1 = Full Load Slip Droop User | Motor Control : Advanced Motor Control
A442 | Accel Time 2 | Advanced Program | Yes | 0x043E | Acceleration Preset | 2 | 1 | Acceleration Time | 2 = Acceleration Preset 2 | Velocity Control : Presets
A443 | Decel Time 2 | Advanced Program | Yes | 0x043E | Acceleration Preset | 2 | 2 | Deceleration Time | 2 = Acceleration Preset 2 | Velocity Control : Presets
A444 | Accel Time 3 | Advanced Program | Yes | 0x043E | Acceleration Preset | 3 | 1 | Acceleration Time | 3 = Acceleration Preset 3 | Velocity Control : Presets
A445 | Decel Time 3 | Advanced Program | Yes | 0x043E | Acceleration Preset | 3 | 2 | Deceleration Time | 3 = Acceleration Preset 3 | Velocity Control : Presets
A446 | Accel Time 4 | Advanced Program | Yes | 0x043E | Acceleration Preset | 4 | 1 | Acceleration Time | 4 = Acceleration Preset 4 | Velocity Control : Presets
A447 | Decel Time 4 | Advanced Program | Yes | 0x043E | Acceleration Preset | 4 | 2 | Deceleration Time | 4 = Acceleration Preset 4 | Velocity Control : Presets
A448 | Skip Frequency 1 | Advanced Program | Yes | 0x0433 | Velocity Skip Band | 1 | 2 | Center | 1 = Velocity Skip Band 1 | Not available in AOP
A449 | Skip Freq Band 1 | Advanced Program | Yes | 0x0433 | Velocity Skip Band | 1 | 3 | Width | 1 = Velocity Skip Band 1 | Not available in AOP
A450 | Skip Frequency 2 | Advanced Program | Yes | 0x0433 | Velocity Skip Band | 2 | 2 | Center | 2 = Velocity Skip Band 2 | Not available in AOP
A451 | Skip Freq Band 2 | Advanced Program | Yes | 0x0433 | Velocity Skip Band | 2 | 3 | Width | 2 = Velocity Skip Band 2 | Not available in AOP
A452 | Skip Frequency 3 | Advanced Program | Yes | 0x0433 | Velocity Skip Band | 3 | 2 | Center | 3 = Velocity Skip Band 3 | Not available in AOP
A453 | Skip Freq Band 3 | Advanced Program | Yes | 0x0433 | Velocity Skip Band | 3 | 3 | Width | 3 = Velocity Skip Band 3 | Not available in AOP
A454 | Skip Frequency 4 | Advanced Program | Yes | 0x0433 | Velocity Skip Band | 4 | 2 | Center | 4 = Velocity Skip Band 4 | Not available in AOP
A455 | Skip Freq Band 4 | Advanced Program | Yes | 0x0433 | Velocity Skip Band | 4 | 3 | Width | 4 = Velocity Skip Band 4 | Not available in AOP
A456 | PID 1 Trim Hi | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A457 | PID 1 Trim Lo | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A458 | PID 1 Trim Sel | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A459 | PID 1 Ref Sel | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A460 | PID 1 Fdback Sel | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A461 | PID 1 Prop Gain | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A462 | PID 1 Integ Time | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A463 | PID 1 Diff Rate | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A464 | PID 1 Setpoint | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A465 | PID 1 Deadband | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A466 | PID 1 Preload | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A467 | PID 1 Invert Err | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A468 | PID 2 Trim Hi | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A469 | PID 2 Trim Lo | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A470 | PID 2 Trim Sel | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A471 | PID 2 Ref Sel | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A472 | PID 2 Fdback Sel | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A473 | PID 2 Prop Gain | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A474 | PID 2 Integ Time | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A475 | PID 2 Diff Rate | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A476 | PID 2 Setpoint | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A477 | PID 2 Deadband | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A478 | PID 2 Preload | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A479 | PID 2 Invert Err | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PID | N/A
A481 | Process Disp Lo | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support Process Display | N/A
A482 | Process Disp Hi | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support Process Display | N/A
A483 | Testpoint Sel | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support Testpoints | N/A
A484 | Current Limit 1 | Advanced Program | Yes | 0x0437 | Inverter Current Limit | 1 | 100 | Current Limit | 1 = Preset 1 | Motor Control : Motor Protection
A485 | Current Limit 2 | Advanced Program | Yes | 0x0437 | Inverter Current Limit | 2 | 100 | Current Limit | 2 = Preset 2 | Not available in AOP
A486 | Shear Pin1 Level | Advanced Program | Yes | 0x0434 | Load Monitor | 1 | 3 | Level Current | 1 = Shear Pin 1 | Not available in AOP
A487 | Shear Pin 1 Time | Advanced Program | Yes | 0x0434 | Load Monitor | 1 | 5 | Time | 1 = Shear Pin 1 | Not available in AOP
A488 | Shear Pin2 Level | Advanced Program | Yes | 0x0434 | Load Monitor | 2 | 3 | Level Current | 2 = Shear Pin 2 | Not available in AOP
A489 | Shear Pin 2 Time | Advanced Program | Yes | 0x0434 | Load Monitor | 2 | 5 | Time | 2 = Shear Pin 2 | Not available in AOP
A490 | Load Loss Level | Advanced Program | Yes | 0x0434 | Load Monitor | 3 | 3 | Level Current | 3 = Load Loss 1 | Not available in AOP
A491 | Load Loss Time | Advanced Program | Yes | 0x0434 | Load Monitor | 3 | 5 | Time | 3 = Load Loss 1 | Not available in AOP
A492 | Stall Fault Time | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | Armor PowerFlex does not support
A493 | Motor OL Select | Advanced Program | Yes | 0x0432 | Motor Thermal Overload | 1 | 106 | Derate Frequency | 1 = Motor 1 Overload | Motor Control -- Motor Protection : DeRate Select
A494 | Motor OL Ret | Advanced Program | Yes | 0x0432 | Motor Thermal Overload | 1 | 107 | Power Up Behavior | 1 = Motor 1 Overload | Motor Control -- Motor Protection : Advanced Motor Protection -- Retention
A495 | Drive OL Mode | Advanced Program | Yes | 0x0436 | Inverter Protection | 1 | 107, 109 | Overload Action Enable, Reduce Current Limit Overload Action Enable, Reduce PWM Fequency | 1 = Inverter Protection 1 | Not available in AOP
A496 | IR Voltage Drop | Advanced Program | Yes | 0x0422 | Motor Tuning Data Source | 4 | 100 | Im Stator Resistance | Instances: 1 = Default 2 = Autotune Result 3 = Autotune Saved 4 = User Specified | Not available in AOP
A497 | Flux Current Ref | Advanced Program | Yes | 0x0422 | Motor Tuning Data Source | 4 | 104 | Im Flux Current | Instances: 1 = Default 2 = Autotune Result 3 = Autotune Saved 4 = User Specified | Not available in AOP
A498 | Motor Rr | Advanced Program | Yes | 0x0422 | Motor Tuning Data Source | 4 | 102 | Im Rotor Resistance | Instances: 1 = Default 2 = Autotune Result 3 = Autotune Saved 4 = User Specified | Not available in AOP
A499 | Motor Lm | Advanced Program | Yes | 0x0422 | Motor Tuning Data Source | 4 | 112 | Im Mutual Inductance | Instances: 1 = Default 2 = Autotune Result 3 = Autotune Saved 4 = User Specified | Not available in AOP
A500 | Motor Lx | Advanced Program | Yes | 0x0422 | Motor Tuning Data Source | 4 | 110 | Im Total Leakage Inductance | Instances: 1 = Default 2 = Autotune Result 3 = Autotune Saved 4 = User Specified | Not available in AOP
A501 | PM IR Voltage | Advanced Program | Yes | 0x0422 | Motor Tuning Data Source | 4 | 150 | PM Motor Resistance | Armor PowerFlex does not support Permanent Magnet Motors | N/A
A502 | PM IXd Voltage | Advanced Program | Yes | 0x0422 | Motor Tuning Data Source | 4 | 154 | PM Motor Ld Inductance | Armor PowerFlex does not support Permanent Magnet Motors | N/A
A503 | PM IXq Voltage | Advanced Program | Yes | 0x0422 | Motor Tuning Data Source | 4 | 152 | PM Motor Lq Inductance | Armor PowerFlex does not support Permanent Magnet Motors | N/A
A504 | PM BEMF Voltage | Advanced Program | Yes | 0x0422 | Motor Tuning Data Source | 4 | 156 | PM Motor Rotary Voltage Constant | Armor PowerFlex does not support Permanent Magnet Motors | N/A
A509 | Speed Reg Sel | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 101 | Proportional Gain, Value Source | Instances: 1 = Vector Velocity Regulator, Low Speed 2 = Vector Velocity Regulator, Mid Speed 3 = Vector Velocity Regulator, High Speed 4 = Frequency Closed Loop Velocity Regulator | Not available in AOP
A510 | Freq 1 | Advanced Program | Yes | 0x0447 | Control Model Adjustment | 1 | 11 | Operational Limit, Max | Instance: 1 = Vector Velocity Regulator, Low Speed | Not available in AOP
A511 | Freq 1 BW | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 133 | Bandwidth Target, User | Instances: 1 = Vector Velocity Regulator, Low Speed 2 = Vector Velocity Regulator, Mid Speed 3 = Vector Velocity Regulator, High Speed 5 = Permanent Magnet Motor Current Regulator | Not available in AOP
A512 | Freq 2 | Advanced Program | Yes | 0x0447 | Control Model Adjustment | 2 | 11 | Operational Limit, Max | Instance: 2 = Vector Velocity Regulator, Mid Speed | Not available in AOP
A513 | Freq 2 BW | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 133 | Bandwidth Target, User | Instances: 1 = Vector Velocity Regulator, Low Speed 2 = Vector Velocity Regulator, Mid Speed 3 = Vector Velocity Regulator, High Speed 5 = Permanent Magnet Motor Current Regulator | Not available in AOP
A514 | Freq 3 | Advanced Program | Yes | 0x0447 | Control Model Adjustment | 3 | 11 | Operational Limit, Max | Instance: 3 = Vector Velocity Regulator, High Speed | Not available in AOP
A515 | Freq 3 BW | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 133 | Bandwidth Target, User | Instances: 1 = Vector Velocity Regulator, Low Speed 2 = Vector Velocity Regulator, Mid Speed 3 = Vector Velocity Regulator, High Speed 5 = Permanent Magnet Motor Current Regulator | Not available in AOP
A516 | PM Initial Sel | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A517 | PM DC Inject Cur | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A518 | PM Align Time | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A519 | PM HIFI NS Cur | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A520 | PM Bus Reg Kd | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A521 | Freq 1 Kp | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 103 | Proportinal Gain, User | Instances: 1 = Vector Velocity Regulator, Low Speed 2 = Vector Velocity Regulator, Mid Speed 3 = Vector Velocity Regulator, High Speed 4 = Frequency Closed Loop Velocity Regulator | Not available in AOP
A522 | Freq 1 Ki | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 113 | Integral Gain, User | Instances: 1 = Vector Velocity Regulator, Low Speed 2 = Vector Velocity Regulator, Mid Speed 3 = Vector Velocity Regulator, High Speed 4 = Frequency Closed Loop Velocity Regulator | Not available in AOP
A523 | Freq 2 Kp | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 103 | Proportinal Gain, User | Instances: 1 = Vector Velocity Regulator, Low Speed 2 = Vector Velocity Regulator, Mid Speed 3 = Vector Velocity Regulator, High Speed 4 = Frequency Closed Loop Velocity Regulator | Not available in AOP
A524 | Freq 2 Ki | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 113 | Integral Gain, User | Instances: 1 = Vector Velocity Regulator, Low Speed 2 = Vector Velocity Regulator, Mid Speed 3 = Vector Velocity Regulator, High Speed 4 = Frequency Closed Loop Velocity Regulator | Not available in AOP
A525 | Freq 3 Kp | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 103 | Proportinal Gain, User | Instances: 1 = Vector Velocity Regulator, Low Speed 2 = Vector Velocity Regulator, Mid Speed 3 = Vector Velocity Regulator, High Speed 4 = Frequency Closed Loop Velocity Regulator | Not available in AOP
A526 | Freq 3 Ki | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 113 | Integral Gain, User | Instances: 1 = Vector Velocity Regulator, Low Speed 2 = Vector Velocity Regulator, Mid Speed 3 = Vector Velocity Regulator, High Speed 4 = Frequency Closed Loop Velocity Regulator | Not available in AOP
A527 | PM FWKn 1 Kp | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 103 | Proportinal Gain, User | Not supported in Armor PowerFlex | N/A
A528 | PM FWKn 2 Kp | Advanced Program | Yes | 0x0447 | Control Model Adjustment | See Notes | 113 | Integral Gain, User | Not supported in Armor PowerFlex | N/A
A529 | PM Control Cfg | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A530 | Boost Select | Advanced Program | Yes | 0x042D | Motor Control Method Frequency | 1 | 1 | Volts Per Hertz Curve | 1 = Motor Control Method Frequency | Motor Control : Frequency Control
A531 | Start Boost | Advanced Program | Yes | 0x042D | Motor Control Method Frequency | 1 | 3 | Start/Acceleration Boost Voltage | 1 = Motor Control Method Frequency | Motor Control : Frequency Control
A532 | Break Voltage | Advanced Program | Yes | 0x042D | Motor Control Method Frequency | 1 | 4 | Break Voltage | 1 = Motor Control Method Frequency | Motor Control : Frequency Control
A533 | Break Frequency | Advanced Program | Yes | 0x042D | Motor Control Method Frequency | 1 | 5 | Break Frequency | 1 = Motor Control Method Frequency | Motor Control : Frequency Control
A534 | Maximum Voltage | Advanced Program | Yes | 0x041D | Motor Configuration | 1 | 3 | Rated Voltage | 1 = Motor -> future setting in Inverter Object | Not available in AOP
A535 | Motor Fdbk Type | Advanced Program | Yes | 0x042F | Feedback | 1 | 101 | Interface Type | 1 = Feedback | Encoder Feedback : Electrical Interface Type
A536 | Encoder PPR | Advanced Program | Yes | 0x042F | Feedback | 1 | 105 | Cycle Resolution | 1 = Feedback | Encoder Feedback : Cycle Resolution
A537 | Pulse In Scale | Advanced Program | Yes | 0x042F | Feedback | 1 | 105 | Cycle Resolution | 1 = Feedback ( use for pulse train ) | Not available in AOP
A538 | Ki Speed Loop | Advanced Program | Yes | 0x0447 | Control Model Adjustment | 4 | 113 | Integral Gain, User | 4 = Frequency Closed Loop Velocity Regulator | Not available in AOP
A539 | Kp Speed Loop | Advanced Program | Yes | 0x0447 | Control Model Adjustment | 4 | 103 | Proportinal Gain, User | 4 = Frequency Closed Loop Velocity Regulator | Not available in AOP
A540 | Var PWM Disable | Advanced Program | Yes | 0x0436 | Inverter Protection | 1 | 109 | Overload Action Enable, Reduce PWM Frequency | 1 = Inverter Protection 1 | Not available in AOP
A541 | Auto Rstrt Tries | Advanced Program | Yes | 0x0430 | Fault Auto Clear Run | 1 | 102 | Auto Reset Run Retries | 1 = Auto Restart | Motor Control : Auto Restart
A542 | Auto Rstrt Delay | Advanced Program | Yes | 0x0430 | Fault Auto Clear Run | 1 | 103 | Auto Reset Run Delay | 1 = Auto Restart | Motor Control : Auto Restart
A543 | Start At PowerUp | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A544 | Reverse Disable | Advanced Program | Yes | - | Motor Control Supervisor | 1 | 105 | Allowed Direction | 1 = Supervisor | Not available in AOP
A545 | Flying Start En | Advanced Program | Yes | 0x0431 | Flying Start | 1 | 1 | Enable | 1 = Flying Start Configuration | Motor-Motor Control : Flying Start
A546 | FlyStrt CurLimit | Advanced Program | Yes | 0x0431 | Flying Start | 1 | 4 | Current Limit | 1 = Flying Start Configuration | Not available in AOP
A547 | Compensation | Advanced Program | No | - | - |  |  |  | Not supported in Armor PowerFlex | N/A
A548 | Power Loss Mode | Advanced Program | Yes | 0x0439 | Drive Power Loss Source | 1 | 102 | Immediate Action | 1 = Power Supply Three Phase | Not available in AOP
A549 | Half Bus Enable | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A550 | Bus Reg Enable | Advanced Program | Yes | 0x0424 | DC Bus | 1 | 106 | Bus Regulator Enable | 1 = DC Bus | Motor-Stop Control : Bus Regulator
A551 | Fault Clear | Advanced Program | Yes | 0x0417 | Fault Alarm | 1 | NA | NA | Reset Service 0x05 | Faults and Alarms : Clear Log or Clear Faults
A552 | Program Lock | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A553 | Program Lock Mod | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A554 | Drv Ambient Sel | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A555 | Reset Meters | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A556 | Text Scroll | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A557 | Out Phas Loss En | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A558 | Positioning Mode | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support Positioning | N/A
A559 | Counts Per Unit | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A560 | Enh Control Word | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A561 | Home Save | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A562 | Find Home Freq | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A563 | Find Home Dir | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A564 | Encoder Pos Tol | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A565 | Pos Reg Filter | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A566 | Pos Reg Gain | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A567 | Max Traverse | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A568 | Traverse Inc | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A569 | Traverse Dec | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A570 | P Jump | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A571 | Sync Time | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A572 | Speed Ratio | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A573 | Mtr Options Cfg | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A574 | RdyBit Mode Cfg | Advanced Program | No | - | - | - | - | - | Not supported in Armor PowerFlex | N/A
A575 | Flux Braking En | Advanced Program | Yes | 0x042A | Stop Control Source | 1 | 104 | Flux Brake Enabled | Instances: 1 = Default 2 = Fault 3 = Safety STO 4 = Safety SS1 | Stop Control : Flux Braking
A576 | Phase Loss Level | Advanced Program | Yes | 0x0425 | Inverter | 1 | 53 | Output Phase Loss Detection Threshold | Armor PowerFlex supports Output Phase Loss Enable, Threshold and Time | Not available in AOP
A580 | Current Loop BW | Advanced Program | Yes | 0x0447 | Control Model Adjustment | 5 | 133 | Bandwidth , Target | 5 = Permanent Magnet Motor Current Regulator | Not available in AOP
A581 | PM Stable 1 Freq | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PM Support | N/A
A582 | PM Stable 2 Freq | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PM Support | N/A
A583 | PM Stable 1 Kp | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PM Support | N/A
A584 | PM Stable 2 Kp | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PM Support | N/A
A585 | PM Stable Brk Pt | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PM Support | N/A
A586 | PM Stepload Kp | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PM Support | N/A
A587 | PM 1 Efficiency | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PM Support | N/A
A588 | PM 2 Efficiency | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PM Support | N/A
A589 | PM Algor Sel | Advanced Program | No | - | - | - | - | - | Armor PowerFlex does not support PM Support | N/A
F604 | Fault 4 Code | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F605 | Fault 5 Code | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F606 | Fault 6 Code | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F607 | Fault 7 Code | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F608 | Fault 8 Code | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F609 | Fault 9 Code | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F610 | Fault10 Code | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F611 | Fault 1 Time-hr | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F612 | Fault 2 Time-hr | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F613 | Fault 3 Time-hr | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F614 | Fault 4 Time-hr | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F615 | Fault 5 Time-hr | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F616 | Fault 6 Time-hr | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F617 | Fault 7 Time-hr | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F618 | Fault 8 Time-hr | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F619 | Fault 9 Time-hr | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F620 | Fault10 Time-hr | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F621 | Fault 1 Time-min | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F622 | Fault 2 Time-min | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F623 | Fault 3 Time-min | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F624 | Fault 4 Time-min | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F625 | Fault 5 Time-min | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F626 | Fault 6 Time-min | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F627 | Fault 7 Time-min | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F628 | Fault 8 Time-min | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F629 | Fault 9 Time-min | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F630 | Fault10 Time-min | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F631 | Fault 1 Freq | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F632 | Fault 2 Freq | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F633 | Fault 3 Freq | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F634 | Fault 4 Freq | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F635 | Fault 5 Freq | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F636 | Fault 6 Freq | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F637 | Fault 7 Freq | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F638 | Fault 8 Freq | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F639 | Fault 9 Freq | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F640 | Fault10 Freq | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F641 | Fault 1 Current | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F642 | Fault 2 Current | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F643 | Fault 3 Current | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F644 | Fault 4 Current | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F645 | Fault 5 Current | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F646 | Fault 6 Current | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F647 | Fault 7 Current | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F648 | Fault 8 Current | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F649 | Fault 9 Current | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F650 | Fault10 Current | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F651 | Fault 1 BusVolts | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F652 | Fault 2 BusVolts | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F653 | Fault 3 BusVolts | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F654 | Fault 4 BusVolts | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F655 | Fault 5 BusVolts | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F656 | Fault 6 BusVolts | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F657 | Fault 7 BusVolts | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F658 | Fault 8 BusVolts | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F659 | Fault 9 BusVolts | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F660 | Fault10 BusVolts | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F661 | Status @ Fault 1 | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F662 | Status @ Fault 2 | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F663 | Status @ Fault 3 | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F664 | Status @ Fault 4 | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F665 | Status @ Fault 5 | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F666 | Status @ Fault 6 | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F667 | Status @ Fault 7 | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F668 | Status @ Fault 8 | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F669 | Status @ Fault 9 | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F670 | Status @ Fault10 | Fault and Diagnostic | Yes | See Notes | - | - | - | - | Provided in Fault Queue | Provided in Fault Queue
F681 | Comm Sts - DSI | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support a DSI Serial Port | N/A
F682 | Comm Sts - Opt | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support Option Card | N/A
F683 | Com Sts-Emb Enet | Fault and Diagnostic | Yes | 0x0001 | Identity | 1 | 5 | Status | Bit 0 = Owned, 1 = Product | Not available in AOP
F684 | EN Addr Src | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 3 | Configuration Control | 1 = TCP IP Interface | Not available in AOP
F685 | EN Rate Act | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 1,2 | Interface Speed, Interface Flags | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F686 | DSI I/O Act | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support a DSI Serial Port | N/A
F687 | HW Addr 1 | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 3 | Physical Address | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F688 | HW Addr 2 | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 3 | Physical Address | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F689 | HW Addr 3 | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 3 | Physical Address | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F690 | HW Addr 4 | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 3 | Physical Address | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F691 | HW Addr 5 | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 3 | Physical Address | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F692 | HW Addr 6 | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 3 | Physical Address | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F693 | EN IP Addr Act 1 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F694 | EN IP Addr Act 2 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F695 | EN IP Addr Act 3 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F696 | EN IP Addr Act 4 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F697 | EN Subnet Act 1 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F698 | EN Subnet Act 2 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F699 | EN Subnet Act 3 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F700 | EN Subnet Act 4 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F701 | EN Gateway Act 1 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F702 | EN Gateway Act 2 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F703 | EN Gateway Act 3 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F704 | EN Gateway Act 4 | Fault and Diagnostic | Yes | 0x00F5 | TCP/IP Interface | 1 | 5 | Interface Configuration | 1 = TCP IP Interface | Not available in AOP
F705 | Drv 0 Logic Cmd | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F706 | Drv 0 Reference | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F707 | Drv 0 Logic Sts | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F708 | Drv 0 Feedback | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F709 | Drv 1 Logic Cmd | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F710 | Drv 1 Reference | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F711 | Drv 1 Logic Sts | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F712 | Drv 1 Feedback | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F713 | Drv 2 Logic Cmd | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F714 | Drv 2 Reference | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F715 | Drv 2 Logic Sts | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F716 | Drv 2 Feedback | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F717 | Drv 3 Logic Cmd | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F718 | Drv 3 Reference | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F719 | Drv 3 Logic Sts | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F720 | Drv 3 Feedback | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F721 | Drv 4 Logic Cmd | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F722 | Drv 4 Reference | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F723 | Drv 4 Logic Sts | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F724 | Drv 4 Feedback | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A
F725 | EN Rx Overruns | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 5 | Media Counters | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F726 | EN Rx Packets | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 4 | Interface Counters | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F727 | EN Rx Errors | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 4 | Interface Counters | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F728 | EN Tx Packets | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 4 | Interface Counters | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F729 | EN Tx Errors | Fault and Diagnostic | Yes | 0x00F6 | Ethernet Link | 1,2 | 4 | Interface Counters | Instances: 1 = Ethernet Port 1 2 = Ethernet Port 2 | Not available in AOP
F730 | EN Missed IO Pkt | Fault and Diagnostic | Yes | 0x0006 | Connection Manager | 1 | 18 | Missed I/O Packets | 1 = Manager | Not available in AOP
F731 | DSI Errors | Fault and Diagnostic | No | - | - | - | - | - | Armor PowerFlex does not support MultiDrive (No DSI) | N/A